## Parts
Component | Name | Description | Catalog # | Vendor | Num of package | Necessary amount for each device | $(each) | $ | Note | URL
[7 empty] | 749.3 | 625.0965
Computer | Raspberry Pi 4, Model B, 8GB | Computer |  | Amazon | 1 | 1 | 88 | 88 |  | https://www.amazon.com/Raspberry-Pi-Computer-Suitable-Workstation/dp/B0899VXM8F/ref=sr_1_10?dchild=1&keywords=raspberry+pi+8gb&qid=1625106586&sr=8-10
| Miuzei Case set | Case, Power supply, heat sinks, HDMI cable, adapter, USB card reader for Raspberry Pi |  | Amazon | 1 | 1 | 17.99 | 17.99 | Fan would be necessary | https://www.amazon.com/Miuzei-Raspberry-HDMI-Micro-Aluminum-Included/dp/B07VX2WDHM/ref=sr_1_7_sspa?dchild=1&keywords=raspberry+pi+4+case+set&qid=1625107272&sr=8-7-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUEzOEswQ1AwOThGRjZZJmVuY3J5cHRlZElkPUEwODA5MjA4MURTWDNEV1o5UFZBTCZlbmNyeXB0ZWRBZElkPUEwNzI5NjI3MVRPS0ZVNEM2NE00MCZ3aWRnZXROYW1lPXNwX210ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU=
| MicroSD card (400GB,SanDisk) | Data strage | SanDisk 400GB Ultra microSDXC UHS-I Memory Card with Adapter - 120MB/s, C10, U1, Full HD, A1, Micro SD Card - SDSQUA4-400G-GN6MA | Amazon | 1 | 1 | 48.74 | 48.74 |  | https://www.amazon.com/SanDisk-400GB-microSDXC-Memory-Adapter/dp/B08GYG5SVQ/ref=sr_1_3?dchild=1&keywords=sd%2Bcard%2B400gb&qid=1625107724&sr=8-3&th=1
| Arduino Uno REV3 [A000066] | Micro computer | A000066 | Amazon | 1 | 1 | 20.98 | 20.98 |  | https://www.amazon.com/Arduino-A000066-ARDUINO-UNO-R3/dp/B008GRTSV6/ref=sr_1_3?dchild=1&keywords=arduino+uno&qid=1625105768&sr=8-3
Monitor | 10.1 inch monitor (1366 x 768 pixels) | Monitors for operation and touch panel | Haiway 10.1 inch Security Monitor, 1366x768 Resolution Small HDMI Monitor Small Portable Monitor with Remote Control with Built-in Dual Speakers HDMI VGA BNC USB Input for Gaming CCTV Raspberry Pi PC | Amazon | 1 | 2 | 80.96 | 161.92 | This should be 10.1 inch | https://www.amazon.com/Haiway-Security-Surveillance-Controller-Resolution/dp/B07WCQ627G/ref=sr_1_2?dchild=1&keywords=1366+768+10.1+monitor&qid=1625108803&sr=8-2
Camera | 100 degree USB camera(640 x 480 pixels) | For the detection of nosepoking and monitoring of mice | ELP VGA Super Mini VGA USB Camera Module with 100degree Lens | Amazon | 1 | 1 | 27.99 | 27.99 | Angle of view should be around 100 degree | https://www.amazon.com/ELP-Super-Camera-Module-100degree/dp/B01DRG250Q/ref=sr_1_42?dchild=1&keywords=usb%2Bcamera%2B100%2Bdegree&qid=1625109913&sr=8-42&th=1
Circuit | PCB board | For switching circuit | ElectroCookie Solderable Breadboard PCB Board for Electronics Projects Compatible for DIY Arduino Soldering Projects, Gold-Plated (5 Pack + 1 Mini Board, Blue) | Amazon | 5 | 0.2 | 12.99 | 2.598 |  | https://www.amazon.com/dp/B07ZV8FWM4/ref=sspa_dk_detail_0?psc=1&pd_rd_i=B07ZV8FWM4&pd_rd_w=ymGCh&pf_rd_p=48d372c1-f7e1-4b8b-9d02-4bd86f5158c5&pd_rd_wg=RlFbL&pf_rd_r=VZN6AZT5117MXZTD12Z1&pd_rd_r=3c7db60a-5271-41cd-89fc-05c6ac8cd662&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExMlhQNDgyM0dTU1ImZW5jcnlwdGVkSWQ9QTA4Mzg4NzkzSjRTQlE1ODJIQllQJmVuY3J5cHRlZEFkSWQ9QTA5MTY1MjYxRTRBWjZZOVU5TEtOJndpZGdldE5hbWU9c3BfZGV0YWlsJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
| AC/DC adapter (5V, 5A, AC100-240V input) and female connector | For power supply of servo and LEDs | ALITOVE 5V 5A AC to DC Power Supply Adapter Converter 5.5x2.1mm Plug AC 100V~240V Input for WS2812B WS2811 SK6812 LED Pixel Strip Light CCTV Camera Security System | Amazon | 1 | 1 | 16.49 | 16.49 |  | https://www.amazon.com/ALITOVE-Converter-5-5x2-1mm-100V-240V-Security/dp/B078RT3ZPS/ref=sr_1_3?keywords=ac+adapter+4a+5v&qid=1570737840&sr=8-3
| 250 ohms resistor (1/4W) | For ceiling LEDs | 100pcs/lot 250 ohm 1/4 W 1% Metal Film Resistor 250R 0.25 W 1% RoHS |  | 100 | 0.05 | 9.52 | 0.476 |  | https://www.amazon.com/100pcs-Metal-Film-Resistor-250R/dp/B07QS88M4K/ref=sr_1_6?dchild=1&keywords=250+ohm+5mm+register&qid=1625276810&s=industrial&sr=1-6
| Carbon resistor set (1/4W, 25 for each resistance) | For switching circuit (Only 220,470,1k,1.5k are needed) | AUSTOR 925 Pieces 37 Values 5% Carbon Film Resistors Assortment Kit, 0 Ohm-1M Ohm 1/4W Resistor for DIY Projects and Experiments | Amazon | 25 | 1 | 8.99 | 8.99 |  | https://www.amazon.com/AUSTOR-Resistors-Assortment-Resistor-Experiments/dp/B07BKRS4QZ/ref=sr_1_1?dchild=1&keywords=austor+925+pieces+37+value&qid=1625163056&sr=8-1
| Heat shrink tubes | For the wire connection | Wire Wrap Sleeve 2.5mm Dia 30mm Long Heat Shrink Tubing 480pcs Black | Amazon | 480 | 0.1 | 9.99 | 0.999 |  | https://www.amazon.com/Sleeve-2-5mm-Shrink-Tubing-480pcs/dp/B014XJATEU/ref=sr_1_3?dchild=1&keywords=Wire+Wrap+Sleeve+2.5mm+Di&qid=1625163447&sr=8-3
| Transistor 60V 150mA | For LED switching | 2SC1815GR | Amazon | 100 | 0.03 | 7.55 | 0.2265 |  | https://www.amazon.com/2SC1815GR-2SC1815-2SC1815-GR-Transistor-Original/dp/B07L8LJ5T7/ref=sr_1_1?dchild=1&keywords=2SC1815GR&qid=1591229403&s=electronics&sr=1-1
| Jumper wire | For the connection between boards | Elegoo EL-CP-004 120pcs Multicolored Dupont Wire 40pin Male to Female, 40pin Male to Male, 40pin Female to Female Breadboard Jumper Wires Ribbon Cables Kit for arduino | Amazon | 120 | 0.1 | 6.98 | 0.698 |  | https://www.amazon.com/Elegoo-EL-CP-004-Multicolored-Breadboard-arduino/dp/B01EV70C78/ref=sr_1_1_sspa?dchild=1&keywords=elegoo+el-cp-004+120+pcs+m&qid=1591230109&s=electronics&sr=1-1-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExRTZFVTk4TU9PT1IxJmVuY3J5cHRlZElkPUEwMTU5MTEzMzcyTjBHOUs1Q1BTTiZlbmNyeXB0ZWRBZElkPUEwNDI3MjEzMTJHUEU4R1E1UldSNCZ3aWRnZXROYW1lPXNwX2F0ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU=
| 5mm 3V 20mA DIFUSED LED (White, Green, 10 for each color) | For water cue | Chanzon 60 pcs(6 colors x 10 pcs) 5mm LED Diode Lights Assortment Kit Pack (Diffused Round Lens DC 3V 20mA) Lighting Bulb Lamp Assorted Variety Color Electronics Components Light Emitting Diodes Parts | Amazon | 10 | 0.5 | 6.5 | 3.25 | 4 white 1 green for each device, I'm using difused one | https://www.amazon.com/Diffused-Lighting-Electronics-Components-Emitting/dp/B01C3ZZT2I
| 5mm 20mA White diffused LED | For ceiling illumination | 100pcs Ultra Bright 5mm LED Light Emitting Diode Diffused White |  | 100 | 0.04 | 7.5 | 0.3 |  | https://www.amazon.com/100pcs-Ultra-Bright-Emitting-Diffused/dp/B01GE4WJ0Y
| 5mm infrared LED | For illumination for the nosepoke places | EK1372 | Amazon | 50 | 0.1 | 7.5 | 0.75 | 5 LEDs are necessary for each device | https://www.amazon.com/Gikfun-Infrared-Launch-Emission-Arduino/dp/B00RK1VJB6/ref=sr_1_1?dchild=1&keywords=Gikfun+5mm+940nm+IR+Infrared+Launch+Emission+Tube+Diode+LED+for+Arduino%28Pack+of+50pcs%29+EK1372&qid=1591230425&s=electronics&sr=1-1
| 24 AWG Wire (100 ft, red) | For circuit | 8054T12 | McMaster | 1 | 0.1 | 9.97 | 0.997 |  | https://www.mcmaster.com/wire/wire-and-cable/wire-7/
| 24 AWG Wire (100 ft, white) | For circuit | 8054T12 | McMaster | 1 | 0.1 | 9.97 | 0.997 |  | https://www.mcmaster.com/wire/wire-and-cable/wire-7/
Water bottle arm | Servo motor (25kg, 270 degree angle) | For the rotation of water bottle | DS3225 | Amazon | 2 | 0.5 | 34.99 | 17.495 |  | https://www.amazon.com/Wishiot-Digital-Waterproof-Robotic-Crawler/dp/B08DCHGRXG/ref=sr_1_2_sspa?dchild=1&keywords=DS3225MG&qid=1625162309&s=toys-and-games&sr=1-2-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFXRE9ITzVLOTRJNkEmZW5jcnlwdGVkSWQ9QTA4MjE1OTAySjBCNENOVlY2VkFaJmVuY3J5cHRlZEFkSWQ9QTAwMzUyODMzUkdGT0VPSkdEV1c2JndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
| 3-pin servo connector male-female | For the servo connection | 500mm Servo Extension Cable 3 Pin Male to Female Lead Wire for RC Airplane (10Pcs) | Amazon | 10 | 0.1 | 7.65 | 0.765 |  | https://www.amazon.com/dp/B01HLUZO4S/ref=twister_B08KDSL8G2?_encoding=UTF8&psc=1
| Water bottle (8 oz) |  | PC8HT | Ancare | 1 | 1 | 6.5 | 6.5 |  | http://ancare.com/sites/default/files/Ancare%20CAT2013.pdf
| Rubber stopper (for water bottle) |  | Size #10 | Ancare | 1 | 1
| Ball point drinking tube | To prevent water leakage from the bottle | TD-100 | Ancare | 1 | 1 | 1.62 | 1.62 |  | sales@ancare.com
| Oil clay | Sealing for sound proof and weight | Baby Blue (Pastel Blue)1 lb. Plastalina | Amazon | 1 | 1.5 | 3.69 | 5.535 |  | https://www.amazon.com/Baby-Blue-Pastel-lb-Plastalina/dp/B0044TVV2Y/ref=sr_1_1?keywords=oil+clay&qid=1570847815&s=electronics&sr=1-1
| Power strip (6 outlet) | For power supply | GE 6-Outlet Surge Protector, 10 Ft Extension Cord, Power Strip, 800 Joules, Flat Plug, Twist-to-Close Safety Covers, UL Listed, White, 14092 | Amazon | 1 | 1 | 12.75 | 12.75 |  | https://www.amazon.com/GE-Outlet-Protector-Extension-14092/dp/B00DOMYL24/ref=sr_1_3?dchild=1&keywords=power+stripe&qid=1625164246&sr=8-3
Others | M2 x 20mm screws (0.4 mm thread pitch) |  | 92000A026 | McMaster | 100 | 0.1 | 8.75 | 0.875 |  | https://www.mcmaster.com/screws/drive-style~phillips/thread-size~m2/length~20-mm/
| M3 x 50mm screws (0.5 mm thread pitch) |  | 92000A139 | McMaster | 100 | 0.1 | 6.56 | 0.656 |  | https://www.mcmaster.com/screws/thread-size~m3/drive-style~phillips/length~50mm/
| M3 x 20 mm screws (0.5 mm thread pitch) | Joint water holder to the base | 91420A128 | McMaster | 100 | 0.01 | 4.4 | 0.044 |  | https://www.mcmaster.com/screws/system-of-measurement~metric/thread-size~m3/length~20-mm/drive-style~phillips/
| M2 nuts (0.4 mm thread pitch) |  | 90592A075 | McMaster | 100 | 0.1 | 2.06 | 0.206 |  | https://www.mcmaster.com/nuts/hex-nuts/thread-size~m2/
| M3 nuts (0.5 mm thread pitch) |  | 90592A085 | McMaster | 100 | 0.1 | 1.17 | 0.117 |  | https://www.mcmaster.com/nuts/hex-nuts/thread-size~m3/thread-pitch~0-5-mm-1/
| 16 port ethernet hub | For the internet connection and remote operation | TP-Link 16 Port Gigabit Ethernet Network Switch, Desktop/ Wall-Mount, Fanless, Sturdy Metal w/ Shielded Ports, Traffic Optimization, Unmanaged, Limited Lifetime Protection (TL-SG116) Black | Amazon | 1 | 0.07 | 59.6 | 4.172 |  | https://www.amazon.com/TP-Link-16-Port-Gigabit-Ethernet-Switch/dp/B07GR9S6FN/ref=sr_1_4?dchild=1&keywords=hub+ethernet+12&qid=1625166770&sr=8-4
| 10 ft Ethernet cable | For the internet connection and remote operation | Ethernet Cable 10 ft, Cat 8 Shielded High Speed Ethernet Cable 40Gbps with Gold Plated Plug SFTP Wires CAT8 RJ45 Connector Gaming LAN Cable for Router, Modem, Gaming, Xbox, POE, PS3, PS4, PS5, Black | Amazon | 1 | 1 | 9.99 |  |  | https://www.amazon.com/Ethernet-Shielded-40Gbps-Plated-Connector/dp/B08296GPP3/ref=sr_1_16?dchild=1&keywords=ethernet+cable&qid=1625167110&sr=8-16
| Mouse |  | Logitech B100 Corded Mouse – Wired USB Mouse for Computers and laptops, for Right or Left Hand Use, Black |  | 1 | 1 | 7.99 | 7.99 |  | https://www.amazon.com/Logitech-800dpi-Optical-3-button-Ambidextrous/dp/B003L62T7W/ref=sxin_12_ac_d_rm?ac_md=0-0-bW91c2U%3D-ac_d_rm&cv_ct_cx=mouse&dchild=1&keywords=mouse&pd_rd_i=B003L62T7W&pd_rd_r=60e81d98-6868-4788-bc4e-e10c36b6796a&pd_rd_w=kM986&pd_rd_wg=Qfpcw&pf_rd_p=1493ce18-a74b-4311-9662-82d8e55e9a65&pf_rd_r=C9VFQQS17499EVQD5Q0P&psc=1&qid=1625167304&sr=1-1-12d4272d-8adb-4121-8624-135149aa9081
Don't necessary | Keyboard |  | SR Mini Keyboard Wired Thin Light 78 Keys USB Multimedia Small for Pc Computer Laptop |  | 1 | 1 | 12.99 | 12.99 |  | https://www.amazon.com/SR-Keyboard-Multimedia-Computer-Laptop/dp/B01IQL2VCE/ref=sr_1_3_sspa?dchild=1&keywords=keyboard+small&qid=1625167367&s=electronics&sr=1-3-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUE2S0NaS0FCN1YxQjAmZW5jcnlwdGVkSWQ9QTA5MTQ3NjdQTFBYSFlaUjdHNjAmZW5jcnlwdGVkQWRJZD1BMDc5MTk1M1k2Mzc0RkkyNzdPVCZ3aWRnZXROYW1lPXNwX2F0ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU=
| PLA(+) (White, 1.75mm, 1kg) | For 3D printing | CCTREE 3D Printing Filament ST-PLA (PLA+) 1.75mm for Creality Ender 3/Ender 3 Pro/Ender 3 V2,Ender 5 Pro/Plus, S5 Accuracy +/- 0.03mm 1kg Spool (2.2lbs), White | Amazon | 1 | 1 | 20.99 | 20.99 |  | https://www.amazon.com/dp/B06XR7621X?psc=1&ref=ppx_yo2_dt_b_product_details
| PLA(+) (Gray, 1.75mm, 1kg) | For 3D printing | PLA Plus 3D Printer Filament, JAYO PLA+ Filament 1.75 mm, Dimensional Accuracy +/- 0.02 mm, 1 KG Spool, PLA+ Grey | Amazon | 1 | 1 | 18.99 |  |  | https://www.amazon.com/dp/B08NJ2QPFM?psc=1&ref=ppx_yo2_dt_b_product_details
USB SD card leader (This is included in Ender-3 Max)
| Kite line | For oil clay cutting
Option | NNAMC3460PCEV | Infrared touch sensor module (Sequel of airbar) |  | Digi-key | 1 | 1 | 130 | 130 |  | https://www.digikey.com/en/products/detail/neonode-inc/NNAMC3460PCEV/7776727?s=N4IgTCBcDaIHJwIIFkDCBmALANgAwAVUBRANRAF0BfIA

## For oder(210712)
| Component | Name | Description | Catalog # | Vendor | Num of package | Necessary amount for each device | $(each) | $ | Note | URL
[8 empty] | 617.46 | 499.989
arrived | Computer | Raspberry Pi 4, Model B, 8GB | Computer |  | Amazon | 1 | 1 | 88 | 88 |  | https://www.amazon.com/Raspberry-Pi-Computer-Suitable-Workstation/dp/B0899VXM8F/ref=sr_1_10?dchild=1&keywords=raspberry+pi+8gb&qid=1625106586&sr=8-10
|  | Miuzei Case set | Case, Power supply, heat sinks, HDMI cable, adapter, USB card reader for Raspberry Pi |  | Amazon | 1 | 1 | 17.99 | 17.99 | Fan would be necessary | https://www.amazon.com/Miuzei-Raspberry-HDMI-Micro-Aluminum-Included/dp/B07VX2WDHM/ref=sr_1_7_sspa?dchild=1&keywords=raspberry+pi+4+case+set&qid=1625107272&sr=8-7-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUEzOEswQ1AwOThGRjZZJmVuY3J5cHRlZElkPUEwODA5MjA4MURTWDNEV1o5UFZBTCZlbmNyeXB0ZWRBZElkPUEwNzI5NjI3MVRPS0ZVNEM2NE00MCZ3aWRnZXROYW1lPXNwX210ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU=
arrived |  | MicroSD card (400GB,SanDisk) | Data strage | SanDisk 400GB Ultra microSDXC UHS-I Memory Card with Adapter - 120MB/s, C10, U1, Full HD, A1, Micro SD Card - SDSQUA4-400G-GN6MA | Amazon | 1 | 1 | 48.74 | 48.74 |  | https://www.amazon.com/SanDisk-400GB-microSDXC-Memory-Adapter/dp/B08GYG5SVQ/ref=sr_1_3?dchild=1&keywords=sd%2Bcard%2B400gb&qid=1625107724&sr=8-3&th=1
arrived |  | Arduino Uno REV3 [A000066] | Micro computer | A000066 | Amazon | 1 | 1 | 20.98 | 20.98 |  | https://www.amazon.com/Arduino-A000066-ARDUINO-UNO-R3/dp/B008GRTSV6/ref=sr_1_3?dchild=1&keywords=arduino+uno&qid=1625105768&sr=8-3
|  | 1ft USB2 cable (typeA male - typeB male) | Connection between Raspberry pi and arduino | 1 feet USB 2.0 Printer/Device Cable, Black, Type A Male/Type B Male Plug, A Male to B Male High Speed USB Cable, USB 2.0 to Type B Cable, Type B Printer Cable, CableWholesale |  | 1 | 1 | 3.88 | 3.88 |  | https://www.amazon.com/CableWholesale-1-Foot-Cable-Version-10U2-02201BK/dp/B000JC00UO/ref=sr_1_13?dchild=1&keywords=type+a+type+b+usb+2&qid=1628720969&sr=8-13
arrived | Monitor | 10.1 inch monitor (1366 x 768 pixels) | Monitors for operation and touch panel | Haiway 10.1 inch Security Monitor, 1366x768 Resolution Small HDMI Monitor Small Portable Monitor with Remote Control with Built-in Dual Speakers HDMI VGA BNC USB Input for Gaming CCTV Raspberry Pi PC | Amazon | 1 | 2 | 80.96 | 161.92 | This should be 10.1 inch | https://www.amazon.com/Haiway-Security-Surveillance-Controller-Resolution/dp/B07WCQ627G/ref=sr_1_2?dchild=1&keywords=1366+768+10.1+monitor&qid=1625108803&sr=8-2
|  | Micro HDMI - HDMI cable (1.5ft) | Connecting for raspberry pi to monitors | Monoprice High Speed HDMI Cable - 1.5 Feet - Black ¦ with HDMI Micro Connector, 4K @ 24Hz, 10.2Gbps, 34AWG | Amazon | 1 | 2 | 6.98 | 13.96 |  | https://www.amazon.com/Monoprice-107555-Speed-Connector-10-2Gbps/dp/B00AJHC3OU/ref=sr_1_3?dchild=1&keywords=micro+hdmi+to+hdmi+1.5ft&qid=1626130447&s=aht&sr=1-3
arrived | Camera | 100 degree USB camera(640 x 480 pixels) | For the detection of nosepoking and monitoring of mice | ELP VGA Super Mini VGA USB Camera Module with 100degree Lens | Amazon | 1 | 1 | 27.99 | 27.99 | Angle of view should be around 100 degree | https://www.amazon.com/ELP-Super-Camera-Module-100degree/dp/B01DRG250Q/ref=sr_1_42?dchild=1&keywords=usb%2Bcamera%2B100%2Bdegree&qid=1625109913&sr=8-42&th=1
arrived | Circuit | PCB board | For switching circuit | ElectroCookie Solderable Breadboard PCB Board for Electronics Projects Compatible for DIY Arduino Soldering Projects, Gold-Plated (5 Pack + 1 Mini Board, Blue) | Amazon | 5 | 0.2 | 12.99 | 2.598 |  | https://www.amazon.com/dp/B07ZV8FWM4/ref=sspa_dk_detail_0?psc=1&pd_rd_i=B07ZV8FWM4&pd_rd_w=ymGCh&pf_rd_p=48d372c1-f7e1-4b8b-9d02-4bd86f5158c5&pd_rd_wg=RlFbL&pf_rd_r=VZN6AZT5117MXZTD12Z1&pd_rd_r=3c7db60a-5271-41cd-89fc-05c6ac8cd662&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExMlhQNDgyM0dTU1ImZW5jcnlwdGVkSWQ9QTA4Mzg4NzkzSjRTQlE1ODJIQllQJmVuY3J5cHRlZEFkSWQ9QTA5MTY1MjYxRTRBWjZZOVU5TEtOJndpZGdldE5hbWU9c3BfZGV0YWlsJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
arrived |  | AC/DC adapter (5V, 5A, AC100-240V input) and female connector | For power supply of servo and LEDs | ALITOVE 5V 5A AC to DC Power Supply Adapter Converter 5.5x2.1mm Plug AC 100V~240V Input for WS2812B WS2811 SK6812 LED Pixel Strip Light CCTV Camera Security System | Amazon | 1 | 1 | 16.49 | 16.49 |  | https://www.amazon.com/ALITOVE-Converter-5-5x2-1mm-100V-240V-Security/dp/B078RT3ZPS/ref=sr_1_3?keywords=ac+adapter+4a+5v&qid=1570737840&sr=8-3
|  | Carbon resistor set (1/4W, 25 for each resistance) | For switching circuit (Only 220,470,1k,1.5k are needed) | AUSTOR 925 Pieces 37 Values 5% Carbon Film Resistors Assortment Kit, 0 Ohm-1M Ohm 1/4W Resistor for DIY Projects and Experiments | Amazon | 25 | 1 | 8.99 | 8.99 |  | https://www.amazon.com/AUSTOR-Resistors-Assortment-Resistor-Experiments/dp/B07BKRS4QZ/ref=sr_1_1?dchild=1&keywords=austor+925+pieces+37+value&qid=1625163056&sr=8-1
possess |  | Heat shrink tubes (Inner diameter:3mm) | For the wire connection | Wire Wrap Sleeve 2.5mm Dia 30mm Long Heat Shrink Tubing 480pcs Black | Amazon | 480 | 0.1 | 9.99 | 0.999 |  | https://www.amazon.com/Sleeve-2-5mm-Shrink-Tubing-480pcs/dp/B014XJATEU/ref=sr_1_3?dchild=1&keywords=Wire+Wrap+Sleeve+2.5mm+Di&qid=1625163447&sr=8-3
|  | Heat shrink tubes (Inner diameter:5mm) | For the wire connection | 650pcs Heat Shrink Tubing Black innhom Heat Shrink Tube Wire Shrink Wrap UL Approved Ratio 2:1 Electrical Cable Wire Kit Set Long Lasting Insulation Protection, Safe and Easy, Eco-Friendly Material | Amazon | 1 | 0.05 | 8.32 | 0.416 |  | https://www.amazon.com/650pcs-Shrink-Tubing-innhom-Approved/dp/B07WWWPR2X/ref=sr_1_2_sspa?dchild=1&keywords=heat+shrink+tube+5mm&qid=1629013760&sr=8-2-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUEzUldPUUs5UjdHUDdWJmVuY3J5cHRlZElkPUEwNDUxNDU1VVI2R1dOT1JUVTBWJmVuY3J5cHRlZEFkSWQ9QTA4OTgyNTIxVDFONDlOODYwVFQ5JndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
possess |  | Transistor 60V 150mA | For LED switching | 2SC1815GR | Amazon | 100 | 0.03 | 7.55 | 0.2265 |  | https://www.amazon.com/2SC1815GR-2SC1815-2SC1815-GR-Transistor-Original/dp/B07L8LJ5T7/ref=sr_1_1?dchild=1&keywords=2SC1815GR&qid=1591229403&s=electronics&sr=1-1
possess |  | Jumper wire | For the connection between boards | Elegoo EL-CP-004 120pcs Multicolored Dupont Wire 40pin Male to Female, 40pin Male to Male, 40pin Female to Female Breadboard Jumper Wires Ribbon Cables Kit for arduino | Amazon | 120 | 0.1 | 6.98 | 0.698 |  | https://www.amazon.com/Elegoo-EL-CP-004-Multicolored-Breadboard-arduino/dp/B01EV70C78/ref=sr_1_1_sspa?dchild=1&keywords=elegoo+el-cp-004+120+pcs+m&qid=1591230109&s=electronics&sr=1-1-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExRTZFVTk4TU9PT1IxJmVuY3J5cHRlZElkPUEwMTU5MTEzMzcyTjBHOUs1Q1BTTiZlbmNyeXB0ZWRBZElkPUEwNDI3MjEzMTJHUEU4R1E1UldSNCZ3aWRnZXROYW1lPXNwX2F0ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU=
possess |  | 5mm 3V 20mA DIFUSED LED (White, Green, 10 for each color) | For the ceiling illumination and water cue | Chanzon 60 pcs(6 colors x 10 pcs) 5mm LED Diode Lights Assortment Kit Pack (Diffused Round Lens DC 3V 20mA) Lighting Bulb Lamp Assorted Variety Color Electronics Components Light Emitting Diodes Parts | Amazon | 10 | 0.5 | 6.5 | 3.25 | 4 white 1 green for each device, I'm using difused one | https://www.amazon.com/Diffused-Lighting-Electronics-Components-Emitting/dp/B01C3ZZT2I
possess |  | 5mm infrared LED | For illumination for the nosepoke places | EK1372 | Amazon | 50 | 0.1 | 7.5 | 0.75 | 5 LEDs are necessary for each device | https://www.amazon.com/Gikfun-Infrared-Launch-Emission-Arduino/dp/B00RK1VJB6/ref=sr_1_1?dchild=1&keywords=Gikfun+5mm+940nm+IR+Infrared+Launch+Emission+Tube+Diode+LED+for+Arduino%28Pack+of+50pcs%29+EK1372&qid=1591230425&s=electronics&sr=1-1
|  | Fan(4cm) | For ventilation | 4PCS 3D Printer Cooling Fan 40mmx40mmx10mm Oil Bearing Blower Fan DC 12V Brushless Cooling Fan with 2 Pin Terminal for Hotend Extruder Heatsinks Makerbot MK7 MK8 CPU Chip Arduino(12V 0.08A) | Amazon | 4 | 0.25 | 8.99 | 2.2475 |  | https://www.amazon.com/Printer-Terminal-Extruder-Heatsinks-Makerbot/dp/B07JPBMNVL/ref=sr_1_10?dchild=1&keywords=small+fan+pc&qid=1626048387&sr=8-10%20(Shintaro%20Otsuka)
arrived |  | 24 AWG Wire (100 ft, red) | For circuit | 8054T12 | McMaster | 1 | 0.1 | 9.97 | 0.997 |  | https://www.mcmaster.com/wire/wire-and-cable/wire-7/
arrived |  | 24 AWG Wire (100 ft, white) | For circuit | 8054T12 | McMaster | 1 | 0.1 | 9.97 | 0.997 |  | https://www.mcmaster.com/wire/wire-and-cable/wire-7/
arrived | Water bottle arm | Servo motor (25kg, 270 degree angle) | For the rotation of water bottle | DS3225 | Amazon | 2 | 0.5 | 34.99 | 17.495 |  | https://www.amazon.com/Wishiot-Digital-Waterproof-Robotic-Crawler/dp/B08DCHGRXG/ref=sr_1_2_sspa?dchild=1&keywords=DS3225MG&qid=1625162309&s=toys-and-games&sr=1-2-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFXRE9ITzVLOTRJNkEmZW5jcnlwdGVkSWQ9QTA4MjE1OTAySjBCNENOVlY2VkFaJmVuY3J5cHRlZEFkSWQ9QTAwMzUyODMzUkdGT0VPSkdEV1c2JndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
possess |  | 3-pin servo connector male-female | For the servo connection | 500mm Servo Extension Cable 3 Pin Male to Female Lead Wire for RC Airplane (10Pcs) | Amazon | 10 | 0.1 | 7.65 | 0.765 |  | https://www.amazon.com/dp/B01HLUZO4S/ref=twister_B08KDSL8G2?_encoding=UTF8&psc=1
possess |  | Water bottle (8 oz) |  | PC8HT | Ancare | 1 | 1 | 6.5 | 6.5 |  | http://ancare.com/sites/default/files/Ancare%20CAT2013.pdf
possess |  | Rubber stopper (for water bottle) |  | Size #10 | Ancare | 1 | 1
possess |  | Ball point drinking tube | To prevent water leakage from the bottle | TD-100 | Ancare | 1 | 1 | 1.62 | 1.62 |  | sales@ancare.com
arrived |  | Oil clay | Sealing for sound proof and weight | Baby Blue (Pastel Blue)1 lb. Plastalina | Amazon | 1 | 1 | 3.69 | 3.69 |  | https://www.amazon.com/Baby-Blue-Pastel-lb-Plastalina/dp/B0044TVV2Y/ref=sr_1_1?keywords=oil+clay&qid=1570847815&s=electronics&sr=1-1
arrived |  | Power strip (6 outlet) | For power supply | GE 6-Outlet Surge Protector, 10 Ft Extension Cord, Power Strip, 800 Joules, Flat Plug, Twist-to-Close Safety Covers, UL Listed, White, 14092 | Amazon | 1 | 1 | 12.75 | 12.75 |  | https://www.amazon.com/GE-Outlet-Protector-Extension-14092/dp/B00DOMYL24/ref=sr_1_3?dchild=1&keywords=power+stripe&qid=1625164246&sr=8-3
arrived | Others | M2 x 20mm screws (0.4 mm thread pitch) |  | 92000A026 | McMaster | 100 | 0.1 | 8.75 | 0.875 |  | https://www.mcmaster.com/screws/drive-style~phillips/thread-size~m2/length~20-mm/
arrived |  | M3 x 50mm screws (0.5 mm thread pitch) |  | 92000A139 | McMaster | 100 | 0.1 | 6.56 | 0.656 |  | https://www.mcmaster.com/screws/thread-size~m3/drive-style~phillips/length~50mm/
arrived |  | M3 x 20 mm screws (0.5 mm thread pitch) | Joint water holder to the base | 91420A128 | McMaster | 100 | 0.01 | 4.4 | 0.044 |  | https://www.mcmaster.com/screws/system-of-measurement~metric/thread-size~m3/length~20-mm/drive-style~phillips/
arrived |  | M2 nuts (0.4 mm thread pitch) |  | 90592A075 | McMaster | 100 | 0.1 | 2.06 | 0.206 |  | https://www.mcmaster.com/nuts/hex-nuts/thread-size~m2/
arrived |  | M3 nuts (0.5 mm thread pitch) |  | 90592A085 | McMaster | 100 | 0.1 | 1.17 | 0.117 |  | https://www.mcmaster.com/nuts/hex-nuts/thread-size~m3/thread-pitch~0-5-mm-1/
arrived |  | 16 port ethernet hub | For the internet connection and remote operation | TP-Link 16 Port Gigabit Ethernet Network Switch, Desktop/ Wall-Mount, Fanless, Sturdy Metal w/ Shielded Ports, Traffic Optimization, Unmanaged, Limited Lifetime Protection (TL-SG116) Black | Amazon | 1 | 0.07 | 59.6 | 4.172 | It is not necessary if wifi is available | https://www.amazon.com/TP-Link-16-Port-Gigabit-Ethernet-Switch/dp/B07GR9S6FN/ref=sr_1_4?dchild=1&keywords=hub+ethernet+12&qid=1625166770&sr=8-4
|  | 10 ft Ethernet cable | For the internet connection and remote operation | Ethernet Cable 10 ft, Cat 8 Shielded High Speed Ethernet Cable 40Gbps with Gold Plated Plug SFTP Wires CAT8 RJ45 Connector Gaming LAN Cable for Router, Modem, Gaming, Xbox, POE, PS3, PS4, PS5, Black | Amazon | 1 | 1 | 9.99 |  | It is not necessary if wifi is available | https://www.amazon.com/Ethernet-Shielded-40Gbps-Plated-Connector/dp/B08296GPP3/ref=sr_1_16?dchild=1&keywords=ethernet+cable&qid=1625167110&sr=8-16
arrived |  | Mouse |  | Logitech B100 Corded Mouse – Wired USB Mouse for Computers and laptops, for Right or Left Hand Use, Black |  | 1 | 1 | 7.99 | 7.99 |  | https://www.amazon.com/Logitech-800dpi-Optical-3-button-Ambidextrous/dp/B003L62T7W/ref=sxin_12_ac_d_rm?ac_md=0-0-bW91c2U%3D-ac_d_rm&cv_ct_cx=mouse&dchild=1&keywords=mouse&pd_rd_i=B003L62T7W&pd_rd_r=60e81d98-6868-4788-bc4e-e10c36b6796a&pd_rd_w=kM986&pd_rd_wg=Qfpcw&pf_rd_p=1493ce18-a74b-4311-9662-82d8e55e9a65&pf_rd_r=C9VFQQS17499EVQD5Q0P&psc=1&qid=1625167304&sr=1-1-12d4272d-8adb-4121-8624-135149aa9081
arrived |  | PLA(+) (White, 1.75mm, 1kg) | For 3D printing | CCTREE 3D Printing Filament ST-PLA (PLA+) 1.75mm for Creality Ender 3/Ender 3 Pro/Ender 3 V2,Ender 5 Pro/Plus, S5 Accuracy +/- 0.03mm 1kg Spool (2.2lbs), White | Amazon | 1 | 1 | 20.99 | 20.99 |  | https://www.amazon.com/dp/B06XR7621X?psc=1&ref=ppx_yo2_dt_b_product_details
arrived |  | PLA(+) (Gray, 1.75mm, 1kg) | For 3D printing | PLA Plus 3D Printer Filament, JAYO PLA+ Filament 1.75 mm, Dimensional Accuracy +/- 0.02 mm, 1 KG Spool, PLA+ Grey | Amazon | 1 | 1 | 18.99 |  |  | https://www.amazon.com/dp/B08NJ2QPFM?psc=1&ref=ppx_yo2_dt_b_product_details
https://www.amazon.com/Raspberry-Pi-Computer-Suitable-Workstation/dp/B0899VXM8F/ref=sr_1_10?dchild=1&keywords=raspberry+pi+8gb&qid=1625106586&sr=8-10
https://www.amazon.com/Miuzei-Raspberry-HDMI-Micro-Aluminum-Included/dp/B07VX2WDHM/ref=sr_1_7_sspa?dchild=1&keywords=raspberry+pi+4+case+set&qid=1625107272&sr=8-7-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUEzOEswQ1AwOThGRjZZJmVuY3J5cHRlZElkPUEwODA5MjA4MURTWDNEV1o5UFZBTCZlbmNyeXB0ZWRBZElkPUEwNzI5NjI3MVRPS0ZVNEM2NE00MCZ3aWRnZXROYW1lPXNwX210ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU=
https://www.amazon.com/Arduino-A000066-ARDUINO-UNO-R3/dp/B008GRTSV6/ref=sr_1_3?dchild=1&keywords=arduino+uno&qid=1625105768&sr=8-3
https://www.amazon.com/Haiway-Security-Surveillance-Controller-Resolution/dp/B07WCQ627G/ref=sr_1_2?dchild=1&keywords=1366+768+10.1+monitor&qid=1625108803&sr=8-2
https://www.amazon.com/ELP-Super-Camera-Module-100degree/dp/B01DRG250Q/ref=sr_1_42?dchild=1&keywords=usb%2Bcamera%2B100%2Bdegree&qid=1625109913&sr=8-42&th=1
https://www.amazon.com/ALITOVE-Converter-5-5x2-1mm-100V-240V-Security/dp/B078RT3ZPS/ref=sr_1_3?keywords=ac+adapter+4a+5v&qid=1570737840&sr=8-3
https://www.amazon.com/Wishiot-Digital-Waterproof-Robotic-Crawler/dp/B08DCHGRXG/ref=sr_1_2_sspa?dchild=1&keywords=DS3225MG&qid=1625162309&s=toys-and-games&sr=1-2-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFXRE9ITzVLOTRJNkEmZW5jcnlwdGVkSWQ9QTA4MjE1OTAySjBCNENOVlY2VkFaJmVuY3J5cHRlZEFkSWQ9QTAwMzUyODMzUkdGT0VPSkdEV1c2JndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ==
https://www.amazon.com/Baby-Blue-Pastel-lb-Plastalina/dp/B0044TVV2Y/ref=sr_1_1?keywords=oil+clay&qid=1570847815&s=electronics&sr=1-1 https://www.amazon.com/TP-Link-16-Port-Gigabit-Ethernet-Switch/dp/B07GR9S6FN/ref=sr_1_4?dchild=1&keywords=hub+ethernet+12&qid=1625166770&sr=8-4 https://www.amazon.com/Ethernet-Shielded-40Gbps-Plated-Connector/dp/B08296GPP3/ref=sr_1_16?dchild=1&keywords=ethernet+cable&qid=1625167110&sr=8-16 https://www.amazon.com/Logitech-800dpi-Optical-3-button-Ambidextrous/dp/B003L62T7W/ref=sxin_12_ac_d_rm?ac_md=0-0-bW91c2U%3D-ac_d_rm&cv_ct_cx=mouse&dchild=1&keywords=mouse&pd_rd_i=B003L62T7W&pd_rd_r=60e81d98-6868-4788-bc4e-e10c36b6796a&pd_rd_w=kM986&pd_rd_wg=Qfpcw&pf_rd_p=1493ce18-a74b-4311-9662-82d8e55e9a65&pf_rd_r=C9VFQQS17499EVQD5Q0P&psc=1&qid=1625167304&sr=1-1-12d4272d-8adb-4121-8624-135149aa9081 https://www.amazon.com/dp/B08NJ2QPFM?psc=1&ref=ppx_yo2_dt_b_product_details

## Cost
| Opera ver2 cheap monitor |  | Opera ver2 |  |  |  | Opera ver1
| Raspberry |  | Raspberry |  | PC |  | PC
| Raspberry | Total | Raspberry | Total | PC | Total | PC | Total
| 248 | 392 | 279 | 454 |  | 454 | 600 | 775 | 0.58581
| $ |  | $
Raspberry Pi4 Model B 4GB | 69 | 69 | 69 | 69
Case set | 19 | 19 | 19 | 19
500GB SD card | 80 | 80 | 80 | 80
10.1 inch IPS monitor | 80 | 80 | 111 | 111
PC |  |  |  |  | 600 | 600 | 600 | 600
Airbar 15.5'' | [6 empty] | 81 | 81
10.1 inch IPS monitor |  | 80 |  | 111 |  | 111 |  | 111
Mouse |  | 5 |  | 5 |  | 5 |  | 5
USB camera |  | 32 |  | 32 |  | 32 |  | 32
Arduino UNO |  | 22 |  | 22 |  | 22 |  | 22
Servo |  | 5 |  | 5 |  | 5 |  | 5
Advantages of operant house raspi ver2:
price
space
part accessivility
difficulty of production
nosepoke detection sensitivity
windows update
Catch phrase : 20 devices with $10,000 (PC version is 16,000)